## General_Info
General Info
Run information
| Session name | Johnathan proteinTest 1
| Session creator | admin
| Run name | Johnathan proteinTest 1-2
| Run creator | admin
| Run started | 7/20/2021 2:02:57 PM-05:00
| Total warnings | 0
| Total errors | 0
Instrument parameters
| Instrument name | VarioskanFlash
| Instrument version | 4.00.53
| Instrument serial number | 3001-1886
| Actual instrument temperature | 33 33.2 33.2
| Dispenser | N\A
| LumiSens module | 1315-02
| LumiSens scaling factor | 0.798
SW Parameters
| Run Software Version | SkanIt Software 2.4.5 RE for Varioskan Flash
| Current Software Version | SkanIt Software 2.4.5 RE for Varioskan Flash

## Layout
Layout
Plate 1: Standard Curve
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Cal2000_0001 | Cal1500_0001 | Cal1000_0001 | Cal750_0001 | Cal500_0001 | Cal250_0001 | Cal125_0001 | Blank_Assay
B | Cal2000_0002 | Cal1500_0002 | Cal1000_0002 | Cal750_0002 | Cal500_0002 | Cal250_0002 | Cal125_0002 | Blank_Assay
C | A | A
D | B | B
E | C | C
F | D | D
G
H
Type | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Blank
B | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Blank
C | Unknown | Unknown
D | Unknown | Unknown
E | Unknown | Unknown
F | Unknown | Unknown
G
H
Conc/Dil | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2000 | 1500 | 1000 | 750 | 500 | 250 | 125
B | 2000 | 1500 | 1000 | 750 | 500 | 250 | 125
C | 1:1 | 1:1
D | 1:1 | 1:1
E | 1:1 | 1:1
F | 1:1 | 1:1
G
H
Unit | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL
B | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL
C
D
E
F
G
H
Description
No description

## Photometric1
Photometric1
Plate 1: Standard Curve
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Cal2000_0001 1/1 | Cal1500_0001 1/1 | Cal1000_0001 1/1 | Cal750_0001 1/1 | Cal500_0001 1/1 | Cal250_0001 1/1 | Cal125_0001 1/1 | Blank_Assay 1/2
B | Cal2000_0002 1/1 | Cal1500_0002 1/1 | Cal1000_0002 1/1 | Cal750_0002 1/1 | Cal500_0002 1/1 | Cal250_0002 1/1 | Cal125_0002 1/1 | Blank_Assay 2/2
C | A 1/2 | A 2/2
D | B 1/2 | B 2/2
E | C 1/2 | C 2/2
F | D 1/2 | D 2/2
G
H
Value | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.1735 | 0.82668 | 0.6353 | 0.40629 | 0.33215 | 0.21694 | 0.22632 | 0.11675
B | 1.0538 | 0.816 | 0.65275 | 0.42313 | 0.37517 | 0.26075 | 0.20495 | 0.12046
C | 1.1223 | 0.92622
D | 1.0324 | 0.78523
E | 0.78138 | 0.72565
F | 0.55562 | 0.54814
G
H

## QuantitativeCurveFit1
QuantitativeCurveFit1
Parameters
| Wavelength |  |  |  | 562
| Fit To |  |  |  | Assay: Calibrator
| Fit Type |  |  |  | LLS
| ConcXForm |  |  |  | Linear
| MeasXForm |  |  |  | Linear
| Markers |  |  |  | Mean
| Extrapolation |  |  |  | N\A
| Formula |  |  |  | Linear Polynomial: y = bx + a
| Parameter a |  |  |  | 0.11802
| Parameter b |  |  |  | 0.00048582
| Parameter c |  |  |  | 0
| Parameter d |  |  |  | 0
| Parameter e |  |  |  | 0
| Correlation Coefficient R2 |  |  |  | 0.97964
Error Message
Plate 1: Standard Curve
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Cal2000_0001 1/1 | Cal1500_0001 1/1 | Cal1000_0001 1/1 | Cal750_0001 1/1 | Cal500_0001 1/1 | Cal250_0001 1/1 | Cal125_0001 1/1 | Blank_Assay 1/2
B | Cal2000_0002 1/1 | Cal1500_0002 1/1 | Cal1000_0002 1/1 | Cal750_0002 1/1 | Cal500_0002 1/1 | Cal250_0002 1/1 | Cal125_0002 1/1 | Blank_Assay 2/2
C | A 1/2 | A 2/2
D | B 1/2 | B 2/2
E | C 1/2 | C 2/2
F | D 1/2 | D 2/2
G
H
Value | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.1735 | 0.82668 | 0.6353 | 0.40629 | 0.33215 | 0.21694 | 0.22632 | 0.11675
B | 1.0538 | 0.816 | 0.65275 | 0.42313 | 0.37517 | 0.26075 | 0.20495 | 0.12046
C | 1.1223 | 0.92622
D | 1.0324 | 0.78523
E | 0.78138 | 0.72565
F | 0.55562 | 0.54814
G
H
Result | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A |  | 1458.6793 | 1064.7507 | 593.3472 | 440.7459 | 203.6054 | 222.9067
B | 1926.0895 | 1436.698 | 1100.6734 | 628.0307 | 529.2928 | 293.7825 | 178.9214
C |  | 1663.5652
D | 1882.164 | 1373.3537
E | 1365.429 | 1250.7243
F | 900.7276 | 885.3371
G
H
Curve Fit Calibrator Table
Plate | Well | Sample | Value | Conc. | Calculated | Residual
|  | Cal1000_0001 | 0.6353 | 1000 | 1064.7507 | -64.7507
Standard Curve | A03 | Cal1000_0001 1/1 | 0.6353 | 1000 | 1064.7507 | -64.7507
|  | Cal1000_0002 | 0.65275 | 1000 | 1100.6734 | -100.6734
Standard Curve | B03 | Cal1000_0002 1/1 | 0.65275 | 1000 | 1100.6734 | -100.6734
|  | Cal125_0001 | 0.22632 | 125 | 222.9067 | -97.9067
Standard Curve | A07 | Cal125_0001 1/1 | 0.22632 | 125 | 222.9067 | -97.9067
|  | Cal125_0002 | 0.20495 | 125 | 178.9214 | -53.9214
Standard Curve | B07 | Cal125_0002 1/1 | 0.20495 | 125 | 178.9214 | -53.9214
|  | Cal1500_0001 | 0.82668 | 1500 | 1458.6793 | 41.3207
Standard Curve | A02 | Cal1500_0001 1/1 | 0.82668 | 1500 | 1458.6793 | 41.3207
|  | Cal1500_0002 | 0.816 | 1500 | 1436.698 | 63.302
Standard Curve | B02 | Cal1500_0002 1/1 | 0.816 | 1500 | 1436.698 | 63.302
|  | Cal2000_0001 | 1.1735 | 2000 | NaN | NaN
Standard Curve | A01 | Cal2000_0001 1/1 | 1.1735 | 2000 | NaN | NaN
|  | Cal2000_0002 | 1.0538 | 2000 | 1926.0895 | 73.9105
Standard Curve | B01 | Cal2000_0002 1/1 | 1.0538 | 2000 | 1926.0895 | 73.9105
|  | Cal250_0001 | 0.21694 | 250 | 203.6054 | 46.3946
Standard Curve | A06 | Cal250_0001 1/1 | 0.21694 | 250 | 203.6054 | 46.3946
|  | Cal250_0002 | 0.26075 | 250 | 293.7825 | -43.7825
Standard Curve | B06 | Cal250_0002 1/1 | 0.26075 | 250 | 293.7825 | -43.7825
|  | Cal500_0001 | 0.33215 | 500 | 440.7459 | 59.2541
Standard Curve | A05 | Cal500_0001 1/1 | 0.33215 | 500 | 440.7459 | 59.2541
|  | Cal500_0002 | 0.37517 | 500 | 529.2928 | -29.2928
Standard Curve | B05 | Cal500_0002 1/1 | 0.37517 | 500 | 529.2928 | -29.2928
|  | Cal750_0001 | 0.40629 | 750 | 593.3472 | 156.6528
Standard Curve | A04 | Cal750_0001 1/1 | 0.40629 | 750 | 593.3472 | 156.6528
|  | Cal750_0002 | 0.42313 | 750 | 628.0307 | 121.9693
Standard Curve | B04 | Cal750_0002 1/1 | 0.42313 | 750 | 628.0307 | 121.9693

## Run_Log
Run Log
2021-07-20 14:02:57-05:00 - Execution started
2021-07-20 14:03:01-05:00 - Photometric1 started
2021-07-20 14:03:08-05:00 - Photometric1 completed
2021-07-20 14:03:08-05:00 - Execution completed

## Sample_Data
Sample Data

## Steps_Data
Steps Data
Protocol properties
| Protocol name | Johnathan proteinTest 1
Protocol description
| Plate template | 96-well Corning, flat bottom plate
| Execution block type | plate
| Execution order | 7
| Settle delay [ms] | 0
| Well interval [ms] | 0
Photometric1
| Measurement technology | Photometric
| Measurement type | Normal
| Step duration | 0:00:00.0
| Lag time | 0:00:00.0
| Measurement time [ms] | 100
| Bandwidth [nm] | 5
| Multipoint | Not in use
| Wavelength [nm] | 562
QuantitativeCurveFit1
| Wavelength | 562
| Fit To | Assay: Calibrator
| Fit Type | LLS
| ConcXForm | Linear
| MeasXForm | Linear
| Markers | Mean
| Extrapolation | N\A