## General_Info
General Info
Run information
| Session name | 07-22-20_Standard Curve_Scrub_3
| Session creator | admin
| Run name | 07-22-20_Standard Curve_Scrub_3
| Run creator | admin
| Run started | 7/22/2020 3:19:24 PM-05:00
| Total warnings | 0
| Total errors | 0
Instrument parameters
| Instrument name | VarioskanFlash
| Instrument version | 4.00.53
| Instrument serial number | 3001-1886
| Actual instrument temperature | 30.2 32.2 32
| Dispenser | N\A
| LumiSens module | 1315-02
| LumiSens scaling factor | 0.798
SW Parameters
| Run Software Version | SkanIt Software 2.4.5 RE for Varioskan Flash
| Current Software Version | SkanIt Software 2.4.5 RE for Varioskan Flash

## Layout
Layout
Plate 1: BSA Standard Curve
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Cal2000_0001 | Cal1500_0001 | Cal1000_0001 | Cal750_0001 | Cal500_0001 | Cal250_0001 | Cal125_0001 | Cal25_0001 | Blank_Assay
B | Cal2000_0002 | Cal1500_0002 | Cal1000_0002 | Cal750_0002 | Cal500_0002 | Cal250_0002 | Cal125_0002 | Cal25_0002 | Blank_Assay
C | Scrub | Scrub_dup
D
E
F
G
H
Type | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Blank
B | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Blank
C | Unknown | Unknown
D
E
F
G
H
Conc/Dil | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2000 | 1500 | 1000 | 750 | 500 | 250 | 125 | 25
B | 2000 | 1500 | 1000 | 750 | 500 | 250 | 125 | 25
C | 1:1 | 1:1
D
E
F
G
H
Unit | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL
B | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL
C
D
E
F
G
H
Description
No description

## Photometric1
Photometric1
Plate 1: BSA Standard Curve
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Cal2000_0001 1/1 | Cal1500_0001 1/1 | Cal1000_0001 1/1 | Cal750_0001 1/1 | Cal500_0001 1/1 | Cal250_0001 1/1 | Cal125_0001 1/1 | Cal25_0001 1/1 | Blank_Assay 1/2
B | Cal2000_0002 1/1 | Cal1500_0002 1/1 | Cal1000_0002 1/1 | Cal750_0002 1/1 | Cal500_0002 1/1 | Cal250_0002 1/1 | Cal125_0002 1/1 | Cal25_0002 1/1 | Blank_Assay 2/2
C | Scrub 1/1 | Scrub_dup 1/1
D
E
F
G
H
Value | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.1229 | 0.91796 | 0.67033 | 0.54101 | 0.38878 | 0.26454 | 0.1918 | 0.12426 | 0.11068
B | 1.1001 | 0.91763 | 0.65546 | 0.54771 | 0.40908 | 0.27028 | 0.19364 | 0.12576 | 0.11011
C | 0.87673 | 0.86898
D
E
F
G
H

## QuantitativeCurveFit1
QuantitativeCurveFit1
Parameters
| Wavelength |  |  |  | 562
| Fit To |  |  |  | Assay: Calibrator
| Fit Type |  |  |  | LLS
| ConcXForm |  |  |  | Linear
| MeasXForm |  |  |  | Linear
| Markers |  |  |  | Mean
| Extrapolation |  |  |  | N\A
| Formula |  |  |  | Linear Polynomial: y = bx + a
| Parameter a |  |  |  | 0.14026
| Parameter b |  |  |  | 0.00050383
| Parameter c |  |  |  | 0
| Parameter d |  |  |  | 0
| Parameter e |  |  |  | 0
| Correlation Coefficient R2 |  |  |  | 0.99531
Error Message
Plate 1: BSA Standard Curve
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Cal2000_0001 1/1 | Cal1500_0001 1/1 | Cal1000_0001 1/1 | Cal750_0001 1/1 | Cal500_0001 1/1 | Cal250_0001 1/1 | Cal125_0001 1/1 | Cal25_0001 1/1 | Blank_Assay 1/2
B | Cal2000_0002 1/1 | Cal1500_0002 1/1 | Cal1000_0002 1/1 | Cal750_0002 1/1 | Cal500_0002 1/1 | Cal250_0002 1/1 | Cal125_0002 1/1 | Cal25_0002 1/1 | Blank_Assay 2/2
C | Scrub 1/1 | Scrub_dup 1/1
D
E
F
G
H
Value | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.1229 | 0.91796 | 0.67033 | 0.54101 | 0.38878 | 0.26454 | 0.1918 | 0.12426 | 0.11068
B | 1.1001 | 0.91763 | 0.65546 | 0.54771 | 0.40908 | 0.27028 | 0.19364 | 0.12576 | 0.11011
C | 0.87673 | 0.86898
D
E
F
G
H
Result | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1950.2978 | 1543.5976 | 1052.0863 | 795.4202 | 493.2581 | 246.6808 | 102.2975
B | 1905.1036 | 1542.9446 | 1022.5841 | 808.7145 | 533.5618 | 258.0657 | 105.9396
C | 1461.7638 | 1446.3656
D
E
F
G
H
Curve Fit Calibrator Table
Plate | Well | Sample | Value | Conc. | Calculated | Residual
|  | Cal1000_0001 | 0.67033 | 1000 | 1052.0863 | -52.0863
BSA Standard Curve | A03 | Cal1000_0001 1/1 | 0.67033 | 1000 | 1052.0863 | -52.0863
|  | Cal1000_0002 | 0.65546 | 1000 | 1022.5841 | -22.5841
BSA Standard Curve | B03 | Cal1000_0002 1/1 | 0.65546 | 1000 | 1022.5841 | -22.5841
|  | Cal125_0001 | 0.1918 | 125 | 102.2975 | 22.7025
BSA Standard Curve | A07 | Cal125_0001 1/1 | 0.1918 | 125 | 102.2975 | 22.7025
|  | Cal125_0002 | 0.19364 | 125 | 105.9396 | 19.0604
BSA Standard Curve | B07 | Cal125_0002 1/1 | 0.19364 | 125 | 105.9396 | 19.0604
|  | Cal1500_0001 | 0.91796 | 1500 | 1543.5976 | -43.5976
BSA Standard Curve | A02 | Cal1500_0001 1/1 | 0.91796 | 1500 | 1543.5976 | -43.5976
|  | Cal1500_0002 | 0.91763 | 1500 | 1542.9446 | -42.9446
BSA Standard Curve | B02 | Cal1500_0002 1/1 | 0.91763 | 1500 | 1542.9446 | -42.9446
|  | Cal2000_0001 | 1.1229 | 2000 | 1950.2978 | 49.7022
BSA Standard Curve | A01 | Cal2000_0001 1/1 | 1.1229 | 2000 | 1950.2978 | 49.7022
|  | Cal2000_0002 | 1.1001 | 2000 | 1905.1036 | 94.8964
BSA Standard Curve | B01 | Cal2000_0002 1/1 | 1.1001 | 2000 | 1905.1036 | 94.8964
|  | Cal25_0001 | 0.12426 | 25 | NaN | NaN
BSA Standard Curve | A08 | Cal25_0001 1/1 | 0.12426 | 25 | NaN | NaN
|  | Cal25_0002 | 0.12576 | 25 | NaN | NaN
BSA Standard Curve | B08 | Cal25_0002 1/1 | 0.12576 | 25 | NaN | NaN
|  | Cal250_0001 | 0.26454 | 250 | 246.6808 | 3.3192
BSA Standard Curve | A06 | Cal250_0001 1/1 | 0.26454 | 250 | 246.6808 | 3.3192
|  | Cal250_0002 | 0.27028 | 250 | 258.0657 | -8.0657
BSA Standard Curve | B06 | Cal250_0002 1/1 | 0.27028 | 250 | 258.0657 | -8.0657
|  | Cal500_0001 | 0.38878 | 500 | 493.2581 | 6.7419
BSA Standard Curve | A05 | Cal500_0001 1/1 | 0.38878 | 500 | 493.2581 | 6.7419
|  | Cal500_0002 | 0.40908 | 500 | 533.5618 | -33.5618
BSA Standard Curve | B05 | Cal500_0002 1/1 | 0.40908 | 500 | 533.5618 | -33.5618
|  | Cal750_0001 | 0.54101 | 750 | 795.4202 | -45.4202
BSA Standard Curve | A04 | Cal750_0001 1/1 | 0.54101 | 750 | 795.4202 | -45.4202
|  | Cal750_0002 | 0.54771 | 750 | 808.7145 | -58.7145
BSA Standard Curve | B04 | Cal750_0002 1/1 | 0.54771 | 750 | 808.7145 | -58.7145

## Run_Log
Run Log
2020-07-22 15:19:24-05:00 - Execution started
2020-07-22 15:19:28-05:00 - Photometric1 started
2020-07-22 15:19:34-05:00 - Photometric1 completed
2020-07-22 15:19:34-05:00 - Execution completed

## Sample_Data
Sample Data

## Steps_Data
Steps Data
Protocol properties
| Protocol name | 07-22-20_Standard Curve_Scrub_3
Protocol description
| Plate template | 96-well Corning, flat bottom plate
| Execution block type | plate
| Execution order | 7
| Settle delay [ms] | 0
| Well interval [ms] | 0
Photometric1
| Measurement technology | Photometric
| Measurement type | Normal
| Step duration | 0:00:00.0
| Lag time | 0:00:00.0
| Measurement time [ms] | 100
| Bandwidth [nm] | 5
| Multipoint | Not in use
| Wavelength [nm] | 562
QuantitativeCurveFit1
| Wavelength | 562
| Fit To | Assay: Calibrator
| Fit Type | LLS
| ConcXForm | Linear
| MeasXForm | Linear
| Markers | Mean
| Extrapolation | N\A