## General_Info
General Info
Run information
| Session name | Johnathan proteinTest 1
| Session creator | admin
| Run name | Johnathan proteinTest 1-3
| Run creator | admin
| Run started | 7/20/2021 2:04:11 PM-05:00
| Total warnings | 0
| Total errors | 0
Instrument parameters
| Instrument name | VarioskanFlash
| Instrument version | 4.00.53
| Instrument serial number | 3001-1886
| Actual instrument temperature | 33 33.2 33.2
| Dispenser | N\A
| LumiSens module | 1315-02
| LumiSens scaling factor | 0.798
SW Parameters
| Run Software Version | SkanIt Software 2.4.5 RE for Varioskan Flash
| Current Software Version | SkanIt Software 2.4.5 RE for Varioskan Flash

## Layout
Layout
Plate 1: Standard Curve
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Cal2000_0001 | Cal1500_0001 | Cal1000_0001 | Cal750_0001 | Cal500_0001 | Cal250_0001 | Cal125_0001 | Blank_Assay
B | Cal2000_0002 | Cal1500_0002 | Cal1000_0002 | Cal750_0002 | Cal500_0002 | Cal250_0002 | Cal125_0002 | Blank_Assay
C | A | A
D | B | B
E | C | C
F | D | D
G
H
Type | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Blank
B | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Blank
C | Unknown | Unknown
D | Unknown | Unknown
E | Unknown | Unknown
F | Unknown | Unknown
G
H
Conc/Dil | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2000 | 1500 | 1000 | 750 | 500 | 250 | 125
B | 2000 | 1500 | 1000 | 750 | 500 | 250 | 125
C | 1:1 | 1:1
D | 1:1 | 1:1
E | 1:1 | 1:1
F | 1:1 | 1:1
G
H
Unit | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL
B | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL
C
D
E
F
G
H
Description
No description

## Photometric1
Photometric1
Plate 1: Standard Curve
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Cal2000_0001 1/1 | Cal1500_0001 1/1 | Cal1000_0001 1/1 | Cal750_0001 1/1 | Cal500_0001 1/1 | Cal250_0001 1/1 | Cal125_0001 1/1 | Blank_Assay 1/2
B | Cal2000_0002 1/1 | Cal1500_0002 1/1 | Cal1000_0002 1/1 | Cal750_0002 1/1 | Cal500_0002 1/1 | Cal250_0002 1/1 | Cal125_0002 1/1 | Blank_Assay 2/2
C | A 1/2 | A 2/2
D | B 1/2 | B 2/2
E | C 1/2 | C 2/2
F | D 1/2 | D 2/2
G
H
Value | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.1487 | 0.8635 | 0.6848 | 0.46014 | 0.36741 | 0.2412 | 0.22938 | 0.11686
B | 1.0676 | 0.86788 | 0.71515 | 0.46626 | 0.39691 | 0.28675 | 0.21589 | 0.12098
C | 1.0587 | 0.94067
D | 1.0286 | 0.83915
E | 0.78538 | 0.76091
F | 0.58877 | 0.56266
G
H

## QuantitativeCurveFit1
QuantitativeCurveFit1
Parameters
| Wavelength |  |  |  | 562
| Fit To |  |  |  | Assay: Calibrator
| Fit Type |  |  |  | LLS
| ConcXForm |  |  |  | Linear
| MeasXForm |  |  |  | Linear
| Markers |  |  |  | Mean
| Extrapolation |  |  |  | N\A
| Formula |  |  |  | Linear Polynomial: y = bx + a
| Parameter a |  |  |  | 0.15003
| Parameter b |  |  |  | 0.00048255
| Parameter c |  |  |  | 0
| Parameter d |  |  |  | 0
| Parameter e |  |  |  | 0
| Correlation Coefficient R2 |  |  |  | 0.98482
Error Message
Plate 1: Standard Curve
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Cal2000_0001 1/1 | Cal1500_0001 1/1 | Cal1000_0001 1/1 | Cal750_0001 1/1 | Cal500_0001 1/1 | Cal250_0001 1/1 | Cal125_0001 1/1 | Blank_Assay 1/2
B | Cal2000_0002 1/1 | Cal1500_0002 1/1 | Cal1000_0002 1/1 | Cal750_0002 1/1 | Cal500_0002 1/1 | Cal250_0002 1/1 | Cal125_0002 1/1 | Blank_Assay 2/2
C | A 1/2 | A 2/2
D | B 1/2 | B 2/2
E | C 1/2 | C 2/2
F | D 1/2 | D 2/2
G
H
Value | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.1487 | 0.8635 | 0.6848 | 0.46014 | 0.36741 | 0.2412 | 0.22938 | 0.11686
B | 1.0676 | 0.86788 | 0.71515 | 0.46626 | 0.39691 | 0.28675 | 0.21589 | 0.12098
C | 1.0587 | 0.94067
D | 1.0286 | 0.83915
E | 0.78538 | 0.76091
F | 0.58877 | 0.56266
G
H
Result | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A |  | 1478.5383 | 1108.2091 | 642.6595 | 450.4968 | 188.9325 | 164.442
B | 1901.5765 | 1487.617 | 1171.1014 | 655.3275 | 511.6235 | 283.3239 | 136.4907
C | 1883.1123 | 1638.458
D | 1820.6323 | 1428.0797
E | 1316.6539 | 1265.9301
F | 909.2201 | 855.1019
G
H
Curve Fit Calibrator Table
Plate | Well | Sample | Value | Conc. | Calculated | Residual
|  | Cal1000_0001 | 0.6848 | 1000 | 1108.2091 | -108.2091
Standard Curve | A03 | Cal1000_0001 1/1 | 0.6848 | 1000 | 1108.2091 | -108.2091
|  | Cal1000_0002 | 0.71515 | 1000 | 1171.1014 | -171.1014
Standard Curve | B03 | Cal1000_0002 1/1 | 0.71515 | 1000 | 1171.1014 | -171.1014
|  | Cal125_0001 | 0.22938 | 125 | 164.442 | -39.442
Standard Curve | A07 | Cal125_0001 1/1 | 0.22938 | 125 | 164.442 | -39.442
|  | Cal125_0002 | 0.21589 | 125 | 136.4907 | -11.4907
Standard Curve | B07 | Cal125_0002 1/1 | 0.21589 | 125 | 136.4907 | -11.4907
|  | Cal1500_0001 | 0.8635 | 1500 | 1478.5383 | 21.4617
Standard Curve | A02 | Cal1500_0001 1/1 | 0.8635 | 1500 | 1478.5383 | 21.4617
|  | Cal1500_0002 | 0.86788 | 1500 | 1487.617 | 12.383
Standard Curve | B02 | Cal1500_0002 1/1 | 0.86788 | 1500 | 1487.617 | 12.383
|  | Cal2000_0001 | 1.1487 | 2000 | NaN | NaN
Standard Curve | A01 | Cal2000_0001 1/1 | 1.1487 | 2000 | NaN | NaN
|  | Cal2000_0002 | 1.0676 | 2000 | 1901.5765 | 98.4235
Standard Curve | B01 | Cal2000_0002 1/1 | 1.0676 | 2000 | 1901.5765 | 98.4235
|  | Cal250_0001 | 0.2412 | 250 | 188.9325 | 61.0675
Standard Curve | A06 | Cal250_0001 1/1 | 0.2412 | 250 | 188.9325 | 61.0675
|  | Cal250_0002 | 0.28675 | 250 | 283.3239 | -33.3239
Standard Curve | B06 | Cal250_0002 1/1 | 0.28675 | 250 | 283.3239 | -33.3239
|  | Cal500_0001 | 0.36741 | 500 | 450.4968 | 49.5032
Standard Curve | A05 | Cal500_0001 1/1 | 0.36741 | 500 | 450.4968 | 49.5032
|  | Cal500_0002 | 0.39691 | 500 | 511.6235 | -11.6235
Standard Curve | B05 | Cal500_0002 1/1 | 0.39691 | 500 | 511.6235 | -11.6235
|  | Cal750_0001 | 0.46014 | 750 | 642.6595 | 107.3405
Standard Curve | A04 | Cal750_0001 1/1 | 0.46014 | 750 | 642.6595 | 107.3405
|  | Cal750_0002 | 0.46626 | 750 | 655.3275 | 94.6725
Standard Curve | B04 | Cal750_0002 1/1 | 0.46626 | 750 | 655.3275 | 94.6725

## Run_Log
Run Log
2021-07-20 14:04:11-05:00 - Execution started
2021-07-20 14:04:15-05:00 - Photometric1 started
2021-07-20 14:04:21-05:00 - Photometric1 completed
2021-07-20 14:04:21-05:00 - Execution completed

## Sample_Data
Sample Data

## Steps_Data
Steps Data
Protocol properties
| Protocol name | Johnathan proteinTest 1
Protocol description
| Plate template | 96-well Corning, flat bottom plate
| Execution block type | plate
| Execution order | 7
| Settle delay [ms] | 0
| Well interval [ms] | 0
Photometric1
| Measurement technology | Photometric
| Measurement type | Normal
| Step duration | 0:00:00.0
| Lag time | 0:00:00.0
| Measurement time [ms] | 100
| Bandwidth [nm] | 5
| Multipoint | Not in use
| Wavelength [nm] | 562
QuantitativeCurveFit1
| Wavelength | 562
| Fit To | Assay: Calibrator
| Fit Type | LLS
| ConcXForm | Linear
| MeasXForm | Linear
| Markers | Mean
| Extrapolation | N\A