## General_Info
General Info
Run information
| Session name | Cerebellum vs Hippocampus
| Session creator | admin
| Run name | Cerebellum vs Hippocampus 1
| Run creator | admin
| Run started | 7/15/2021 12:39:39 PM-05:00
| Total warnings | 0
| Total errors | 0
Instrument parameters
| Instrument name | VarioskanFlash
| Instrument version | 4.00.53
| Instrument serial number | 3001-1886
| Actual instrument temperature | 31.1 31.5 31.4
| Dispenser | N\A
| LumiSens module | 1315-02
| LumiSens scaling factor | 0.798
SW Parameters
| Run Software Version | SkanIt Software 2.4.5 RE for Varioskan Flash
| Current Software Version | SkanIt Software 2.4.5 RE for Varioskan Flash

## Layout
Layout
Plate 1: Standard Curve
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Cal2000_0001 | Cal1500_0001 | Cal1000_0001 | Cal750_0001 | Cal500_0001 | Cal250_0001 | Cal125_0001 | Blank_Assay
B | Cal2000_0002 | Cal1500_0002 | Cal1000_0002 | Cal750_0002 | Cal500_0002 | Cal250_0002 | Cal125_0002 | Blank_Assay
C | Cerebelum | Cerebelum
D | Hippo | Hippo
E | UnknownG | UnknownG
F | UnknownF | UnknownF
G
H
Type | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Blank
B | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Blank
C | Unknown | Unknown
D | Unknown | Unknown
E | Unknown | Unknown
F | Unknown | Unknown
G
H
Conc/Dil | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2000 | 1500 | 1000 | 750 | 500 | 250 | 125
B | 2000 | 1500 | 1000 | 750 | 500 | 250 | 125
C | 1:1 | 1:1
D | 1:1 | 1:1
E | 1:1 | 1:1
F | 1:1 | 1:1
G
H
Unit | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL
B | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL
C
D
E
F
G
H
Description
No description

## Photometric1
Photometric1
Plate 1: Standard Curve
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Cal2000_0001 1/1 | Cal1500_0001 1/1 | Cal1000_0001 1/1 | Cal750_0001 1/1 | Cal500_0001 1/1 | Cal250_0001 1/1 | Cal125_0001 1/1 | Blank_Assay 1/2
B | Cal2000_0002 1/1 | Cal1500_0002 1/1 | Cal1000_0002 1/1 | Cal750_0002 1/1 | Cal500_0002 1/1 | Cal250_0002 1/1 | Cal125_0002 1/1 | Blank_Assay 2/2
C | Cerebelum 1/2 | Cerebelum 2/2
D | Hippo 1/2 | Hippo 2/2
E | UnknownG 1/2 | UnknownG 2/2
F | UnknownF 1/2 | UnknownF 2/2
G
H
Value | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.91161 | 0.72233 | 0.53236 | 0.40843 | 0.32606 | 0.22429 | 0.18395 | 0.12027
B | 0.8146 | 0.6148 | 0.5076 | 0.40674 | 0.33921 | 0.23463 | 0.18157 | 0.1235
C | 1.1784 | 1.151
D | 0.62601 | 0.62499
E | 0.2008 | 0.18186
F | 0.28384 | 0.24894
G
H

## QuantitativeCurveFit1
QuantitativeCurveFit1
Parameters
| Wavelength |  |  |  | 562
| Fit To |  |  |  | Assay: Calibrator
| Fit Type |  |  |  | LLS
| ConcXForm |  |  |  | Linear
| MeasXForm |  |  |  | Linear
| Markers |  |  |  | Mean
| Extrapolation |  |  |  | N\A
| Formula |  |  |  | Linear Polynomial: y = bx + a
| Parameter a |  |  |  | 0.14385
| Parameter b |  |  |  | 0.00035871
| Parameter c |  |  |  | 0
| Parameter d |  |  |  | 0
| Parameter e |  |  |  | 0
| Correlation Coefficient R2 |  |  |  | 0.98318
Error Message
Plate 1: Standard Curve
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Cal2000_0001 1/1 | Cal1500_0001 1/1 | Cal1000_0001 1/1 | Cal750_0001 1/1 | Cal500_0001 1/1 | Cal250_0001 1/1 | Cal125_0001 1/1 | Blank_Assay 1/2
B | Cal2000_0002 1/1 | Cal1500_0002 1/1 | Cal1000_0002 1/1 | Cal750_0002 1/1 | Cal500_0002 1/1 | Cal250_0002 1/1 | Cal125_0002 1/1 | Blank_Assay 2/2
C | Cerebelum 1/2 | Cerebelum 2/2
D | Hippo 1/2 | Hippo 2/2
E | UnknownG 1/2 | UnknownG 2/2
F | UnknownF 1/2 | UnknownF 2/2
G
H
Value | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.91161 | 0.72233 | 0.53236 | 0.40843 | 0.32606 | 0.22429 | 0.18395 | 0.12027
B | 0.8146 | 0.6148 | 0.5076 | 0.40674 | 0.33921 | 0.23463 | 0.18157 | 0.1235
C | 1.1784 | 1.151
D | 0.62601 | 0.62499
E | 0.2008 | 0.18186
F | 0.28384 | 0.24894
G
H
Result | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A |  | 1612.6495 | 1083.0546 | 737.5815 | 507.9472 | 224.2391
B | 1869.874 | 1312.8673 | 1014.0275 | 732.859 | 544.6031 | 253.0616
C
D | 1344.129 | 1341.2883
E | 158.7524
F | 390.2573 | 292.9597
G
H
Curve Fit Calibrator Table
Plate | Well | Sample | Value | Conc. | Calculated | Residual
|  | Cal1000_0001 | 0.53236 | 1000 | 1083.0546 | -83.0546
Standard Curve | A03 | Cal1000_0001 1/1 | 0.53236 | 1000 | 1083.0546 | -83.0546
|  | Cal1000_0002 | 0.5076 | 1000 | 1014.0275 | -14.0275
Standard Curve | B03 | Cal1000_0002 1/1 | 0.5076 | 1000 | 1014.0275 | -14.0275
|  | Cal125_0001 | 0.18395 | 125 | NaN | NaN
Standard Curve | A07 | Cal125_0001 1/1 | 0.18395 | 125 | NaN | NaN
|  | Cal125_0002 | 0.18157 | 125 | NaN | NaN
Standard Curve | B07 | Cal125_0002 1/1 | 0.18157 | 125 | NaN | NaN
|  | Cal1500_0001 | 0.72233 | 1500 | 1612.6495 | -112.6495
Standard Curve | A02 | Cal1500_0001 1/1 | 0.72233 | 1500 | 1612.6495 | -112.6495
|  | Cal1500_0002 | 0.6148 | 1500 | 1312.8673 | 187.1327
Standard Curve | B02 | Cal1500_0002 1/1 | 0.6148 | 1500 | 1312.8673 | 187.1327
|  | Cal2000_0001 | 0.91161 | 2000 | NaN | NaN
Standard Curve | A01 | Cal2000_0001 1/1 | 0.91161 | 2000 | NaN | NaN
|  | Cal2000_0002 | 0.8146 | 2000 | 1869.874 | 130.126
Standard Curve | B01 | Cal2000_0002 1/1 | 0.8146 | 2000 | 1869.874 | 130.126
|  | Cal250_0001 | 0.22429 | 250 | 224.2391 | 25.7609
Standard Curve | A06 | Cal250_0001 1/1 | 0.22429 | 250 | 224.2391 | 25.7609
|  | Cal250_0002 | 0.23463 | 250 | 253.0616 | -3.0616
Standard Curve | B06 | Cal250_0002 1/1 | 0.23463 | 250 | 253.0616 | -3.0616
|  | Cal500_0001 | 0.32606 | 500 | 507.9472 | -7.9472
Standard Curve | A05 | Cal500_0001 1/1 | 0.32606 | 500 | 507.9472 | -7.9472
|  | Cal500_0002 | 0.33921 | 500 | 544.6031 | -44.6031
Standard Curve | B05 | Cal500_0002 1/1 | 0.33921 | 500 | 544.6031 | -44.6031
|  | Cal750_0001 | 0.40843 | 750 | 737.5815 | 12.4185
Standard Curve | A04 | Cal750_0001 1/1 | 0.40843 | 750 | 737.5815 | 12.4185
|  | Cal750_0002 | 0.40674 | 750 | 732.859 | 17.141
Standard Curve | B04 | Cal750_0002 1/1 | 0.40674 | 750 | 732.859 | 17.141

## Run_Log
Run Log
2021-07-15 12:39:39-05:00 - Execution started
2021-07-15 12:39:43-05:00 - Photometric1 started
2021-07-15 12:39:50-05:00 - Photometric1 completed
2021-07-15 12:39:50-05:00 - Execution completed

## Sample_Data
Sample Data

## Steps_Data
Steps Data
Protocol properties
| Protocol name | Cerebellum vs Hippocampus
Protocol description
| Plate template | 96-well Corning, flat bottom plate
| Execution block type | plate
| Execution order | 7
| Settle delay [ms] | 0
| Well interval [ms] | 0
Photometric1
| Measurement technology | Photometric
| Measurement type | Normal
| Step duration | 0:00:00.0
| Lag time | 0:00:00.0
| Measurement time [ms] | 100
| Bandwidth [nm] | 5
| Multipoint | Not in use
| Wavelength [nm] | 562
QuantitativeCurveFit1
| Wavelength | 562
| Fit To | Assay: Calibrator
| Fit Type | LLS
| ConcXForm | Linear
| MeasXForm | Linear
| Markers | Mean
| Extrapolation | N\A