## General_Info
General Info
Run information
| Session name | Cerebellum vs Hippocampus 3
| Session creator | admin
| Run name | Cerebellum vs Hippocampus 3
| Run creator | admin
| Run started | 7/15/2021 12:44:01 PM-05:00
| Total warnings | 0
| Total errors | 0
Instrument parameters
| Instrument name | VarioskanFlash
| Instrument version | 4.00.53
| Instrument serial number | 3001-1886
| Actual instrument temperature | 31.1 31.5 31.5
| Dispenser | N\A
| LumiSens module | 1315-02
| LumiSens scaling factor | 0.798
SW Parameters
| Run Software Version | SkanIt Software 2.4.5 RE for Varioskan Flash
| Current Software Version | SkanIt Software 2.4.5 RE for Varioskan Flash

## Layout
Layout
Plate 1: Standard Curve
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Cal2000_0001 | Cal1500_0001 | Cal1000_0001 | Cal750_0001 | Cal500_0001 | Cal250_0001 | Cal125_0001 | Blank_Assay
B | Cal2000_0002 | Cal1500_0002 | Cal1000_0002 | Cal750_0002 | Cal500_0002 | Cal250_0002 | Cal125_0002 | Blank_Assay
C | Cerebelum | Cerebelum
D | Hippo | Hippo
E | UnknownG | UnknownG
F | UnknownF | UnknownF
G
H
Type | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Blank
B | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Calibrator | Blank
C | Unknown | Unknown
D | Unknown | Unknown
E | Unknown | Unknown
F | Unknown | Unknown
G
H
Conc/Dil | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2000 | 1500 | 1000 | 750 | 500 | 250 | 125
B | 2000 | 1500 | 1000 | 750 | 500 | 250 | 125
C | 1:1 | 1:1
D | 1:1 | 1:1
E | 1:1 | 1:1
F | 1:1 | 1:1
G
H
Unit | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL
B | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL | ug/mL
C
D
E
F
G
H
Description
No description

## Photometric1
Photometric1
Plate 1: Standard Curve
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Cal2000_0001 1/1 | Cal1500_0001 1/1 | Cal1000_0001 1/1 | Cal750_0001 1/1 | Cal500_0001 1/1 | Cal250_0001 1/1 | Cal125_0001 1/1 | Blank_Assay 1/2
B | Cal2000_0002 1/1 | Cal1500_0002 1/1 | Cal1000_0002 1/1 | Cal750_0002 1/1 | Cal500_0002 1/1 | Cal250_0002 1/1 | Cal125_0002 1/1 | Blank_Assay 2/2
C | Cerebelum 1/2 | Cerebelum 2/2
D | Hippo 1/2 | Hippo 2/2
E | UnknownG 1/2 | UnknownG 2/2
F | UnknownF 1/2 | UnknownF 2/2
G
H
Value | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.8368 | 0.8897 | 0.65979 | 0.52872 | 0.41387 | 0.27915 | 0.2066 | 0.12437
B | 0.70574 | 0.71216 | 0.57376 | 0.47138 | 0.38669 | 0.26809 | 0.20148 | 0.12473
C | 1.1983 | 1.1689
D | 0.63839 | 0.63263
E | 0.19758 | 0.19675
F | 0.27609 | 0.26455
G
H

## QuantitativeCurveFit1
QuantitativeCurveFit1
Parameters
| Wavelength |  |  |  | 562
| Fit To |  |  |  | Assay: Calibrator
| Fit Type |  |  |  | LLS
| ConcXForm |  |  |  | Linear
| MeasXForm |  |  |  | Linear
| Markers |  |  |  | Mean
| Extrapolation |  |  |  | N\A
| Formula |  |  |  | Linear Polynomial: y = bx + a
| Parameter a |  |  |  | 0.22368
| Parameter b |  |  |  | 0.00032673
| Parameter c |  |  |  | 0
| Parameter d |  |  |  | 0
| Parameter e |  |  |  | 0
| Correlation Coefficient R2 |  |  |  | 0.87068
Error Message
Plate 1: Standard Curve
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Cal2000_0001 1/1 | Cal1500_0001 1/1 | Cal1000_0001 1/1 | Cal750_0001 1/1 | Cal500_0001 1/1 | Cal250_0001 1/1 | Cal125_0001 1/1 | Blank_Assay 1/2
B | Cal2000_0002 1/1 | Cal1500_0002 1/1 | Cal1000_0002 1/1 | Cal750_0002 1/1 | Cal500_0002 1/1 | Cal250_0002 1/1 | Cal125_0002 1/1 | Blank_Assay 2/2
C | Cerebelum 1/2 | Cerebelum 2/2
D | Hippo 1/2 | Hippo 2/2
E | UnknownG 1/2 | UnknownG 2/2
F | UnknownF 1/2 | UnknownF 2/2
G
H
Value | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.8368 | 0.8897 | 0.65979 | 0.52872 | 0.41387 | 0.27915 | 0.2066 | 0.12437
B | 0.70574 | 0.71216 | 0.57376 | 0.47138 | 0.38669 | 0.26809 | 0.20148 | 0.12473
C | 1.1983 | 1.1689
D | 0.63839 | 0.63263
E | 0.19758 | 0.19675
F | 0.27609 | 0.26455
G
H
Result | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1876.5605 |  | 1334.7757 | 933.6195 | 582.0952 | 169.7768
B | 1475.4319 | 1495.0631 | 1071.4844 | 758.1206 | 498.9062 | 135.9135
C
D | 1269.2834 | 1251.6509
E
F | 160.3989 | 125.1002
G
H
Curve Fit Calibrator Table
Plate | Well | Sample | Value | Conc. | Calculated | Residual
|  | Cal1000_0001 | 0.65979 | 1000 | 1334.7757 | -334.7757
Standard Curve | A03 | Cal1000_0001 1/1 | 0.65979 | 1000 | 1334.7757 | -334.7757
|  | Cal1000_0002 | 0.57376 | 1000 | 1071.4844 | -71.4844
Standard Curve | B03 | Cal1000_0002 1/1 | 0.57376 | 1000 | 1071.4844 | -71.4844
|  | Cal125_0001 | 0.2066 | 125 | NaN | NaN
Standard Curve | A07 | Cal125_0001 1/1 | 0.2066 | 125 | NaN | NaN
|  | Cal125_0002 | 0.20148 | 125 | NaN | NaN
Standard Curve | B07 | Cal125_0002 1/1 | 0.20148 | 125 | NaN | NaN
|  | Cal1500_0001 | 0.8897 | 1500 | NaN | NaN
Standard Curve | A02 | Cal1500_0001 1/1 | 0.8897 | 1500 | NaN | NaN
|  | Cal1500_0002 | 0.71216 | 1500 | 1495.0631 | 4.9369
Standard Curve | B02 | Cal1500_0002 1/1 | 0.71216 | 1500 | 1495.0631 | 4.9369
|  | Cal2000_0001 | 0.8368 | 2000 | 1876.5605 | 123.4395
Standard Curve | A01 | Cal2000_0001 1/1 | 0.8368 | 2000 | 1876.5605 | 123.4395
|  | Cal2000_0002 | 0.70574 | 2000 | 1475.4319 | 524.5681
Standard Curve | B01 | Cal2000_0002 1/1 | 0.70574 | 2000 | 1475.4319 | 524.5681
|  | Cal250_0001 | 0.27915 | 250 | 169.7768 | 80.2232
Standard Curve | A06 | Cal250_0001 1/1 | 0.27915 | 250 | 169.7768 | 80.2232
|  | Cal250_0002 | 0.26809 | 250 | 135.9135 | 114.0865
Standard Curve | B06 | Cal250_0002 1/1 | 0.26809 | 250 | 135.9135 | 114.0865
|  | Cal500_0001 | 0.41387 | 500 | 582.0952 | -82.0952
Standard Curve | A05 | Cal500_0001 1/1 | 0.41387 | 500 | 582.0952 | -82.0952
|  | Cal500_0002 | 0.38669 | 500 | 498.9062 | 1.0938
Standard Curve | B05 | Cal500_0002 1/1 | 0.38669 | 500 | 498.9062 | 1.0938
|  | Cal750_0001 | 0.52872 | 750 | 933.6195 | -183.6195
Standard Curve | A04 | Cal750_0001 1/1 | 0.52872 | 750 | 933.6195 | -183.6195
|  | Cal750_0002 | 0.47138 | 750 | 758.1206 | -8.1206
Standard Curve | B04 | Cal750_0002 1/1 | 0.47138 | 750 | 758.1206 | -8.1206

## Run_Log
Run Log
2021-07-15 12:44:01-05:00 - Execution started
2021-07-15 12:44:05-05:00 - Photometric1 started
2021-07-15 12:44:11-05:00 - Photometric1 completed
2021-07-15 12:44:11-05:00 - Execution completed

## Sample_Data
Sample Data

## Steps_Data
Steps Data
Protocol properties
| Protocol name | Cerebellum vs Hippocampus 3
Protocol description
| Plate template | 96-well Corning, flat bottom plate
| Execution block type | plate
| Execution order | 3
| Settle delay [ms] | 0
| Well interval [ms] | 0
Photometric1
| Measurement technology | Photometric
| Measurement type | Normal
| Step duration | 0:00:00.0
| Lag time | 0:00:00.0
| Measurement time [ms] | 100
| Bandwidth [nm] | 5
| Multipoint | Not in use
| Wavelength [nm] | 562
QuantitativeCurveFit1
| Wavelength | 562
| Fit To | Assay: Calibrator
| Fit Type | LLS
| ConcXForm | Linear
| MeasXForm | Linear
| Markers | Mean
| Extrapolation | N\A